## ASF Lab Assets DRAFT V5
Equipment ID. | EQ TAG | Equipment Type | Department | Status | Client CC Description - KEEP FOR REFERENCE ON GENERAL USE EQUIPMENT | Manufacturer Name | Equipment Model | CFCI | OFCI | OFOI | OFCI | W | Width | D | Depth | H | Height | Placement Comments | Placement | Voltage | NO. OF OUTLETS | SOURCE: N=NORMAL, E=EMERG, U=UPS, L=LOCAL UPS-NEEDS E | Data | CW | HW | RO | DI | Drain | CDA | VAC | O2 | CO2 | HE | N2 | Other Gas | Exhaust | Comments | Owner Asset Number
2856 | MIX | MIXER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | FISHER SCIENTIFIC | ISOTEMP |  |  | TRUE |  | 9 | 0.75 | 13 | 1.0833 | 8 | 0.66667 |  | B | 115V | 1 | N | [15 empty] | 1122327
2858 | SONI | SONICATOR | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | BRANSON ULTRASONICS | SFX55 |  |  | TRUE |  | 8 | 0.66667 | 12 | 1 | 8 | 0.66667 | INSIDE BSC 2857 | BSC | 115V | 1 | N | [15 empty] | 1117240
2860 | CEN | CENTRIFUGE, BENCHTOP, MEDIUM | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | THERMO | LEGEND MICRO 21 |  |  | TRUE |  | 10 | 0.83333 | 17 | 1.4167 | 13 | 1.0833 | 12H | B | 115V | 1 | N | [15 empty] | 1143904
2861 | CTRT | CONCENTRATOR | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | THERMO SAVANT | SPEEDVAC SPD131DDAP1-115 & RVT5105 |  |  | TRUE |  | 14 | 1.1667 | 16 | 1.3333 | 14 | 1.1667 |  | T | 115V | 1 | N | [15 empty] | 1107523
2861.1 | CHIL | CHILLER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | THERMO SAVANT | RVT5105-115 |  |  | TRUE |  | 23 | 1.9167 | 24 | 2 | 14 | 1.1667 | UNDER TBL | F | 115V | 1 | N | [15 empty] | ADDED
2861.2 | PMP | PUMP | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | EDWARDS | NXDS6IC 100/240 |  |  | TRUE |  | 15 | 1.25 | 15 | 1.25 | 14 | 1.1667 | UNDER TBL | F | 120V | 1 | N | [13 empty] | EXHAUST HEAT LOAD |  | ADDED
2862 | CTRT | CONCENTRATOR | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | FISHER SCIENTIFIC | CENTRITRAP SOLVENT SYSTEM CONCENTRATOR |  |  | TRUE |  | 14 | 1.1667 | 18 | 1.5 | 12 | 1 | 16 | T | 115V | 1 | N | [15 empty] | 1074502
2862.1 | PMP | PUMP,VACUUM | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | FISHER SCIENTIFIC | DIAPHRAGM VACUUM PUMP |  |  | TRUE |  | 15 | 1.25 | 22 | 1.8333 | 20 | 1.6667 | UNDER TABLE | F | 115V | 1 | N | [15 empty] | 1087074
2862.2 | TRP | TRAP, SOLVENT SYSTEM | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | FISHER SCIENTIFIC | CENTRITRAP SOLVENT SYSTEM COLD TRAP |  |  | TRUE |  | 14 | 1.1667 | 18 | 1.5 | 12 | 1 | UNDER TABLE | FH | 115V | 1 | N | [15 empty] | 1087073
2863 | FLAM | FLAMMABLE STORAGE CABINET | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | JUSTRITE MANUFACTURING COMPANY | 25302 |  |  | TRUE |  | 34 | 2.8333 | 18 | 1.5 | 45.5 | 3.7917 |  | F | N/A | 0 | 0 | [15 empty] | 1166057
2867 | VBSE | HOOD,VBSE, ON MARBLE TABLE | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | GFO - AMA FACILITIES | FLOW SCIENCES, INC. | 3SA70 |  |  | TRUE |  | 34 | 2.8333 | 30 | 2.5 | 20 | 1.6667 |  | MARBLE TABLE | 115V | 1 | N | [13 empty] | EXHAUST 4" |  | 671434
2868 | MBL | TABLE MARBLE | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | GFO - AMA FACILITIES | COLEPARMER | MARBLE TABLE |  |  | TRUE |  | 35 | 2.9167 | 24 | 2 | 32 | 2.6667 |  | F | N/A | 0 | 0 | [15 empty] | ADDED
2869 | BAL | BALANCE, SCALE | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | METTLER TOLEDO | XP6 |  |  | TRUE |  | 15 | 1.25 | 18 | 1.5 | 12 | 1 | INSIDE 2867 VBSE | VBSE | 115V | 1 | N | [15 empty] | 724188
2870 | BAL | BALANCE, ANALYTICAL | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | METTLER TOLEDO | XS204 |  |  | TRUE |  | 11 | 0.91667 | 18 | 1.5 | 12 | 1 |  | B | 115V | 1 | N | [15 empty] | 724196
2871 | CNTR | PRESSURE MANIFOLD | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | BIOTAGE | PRESSURE+48 |  |  | TRUE |  | 13 | 1.0833 | 11 | 0.91667 | 19 | 1.5833 |  | B | N/A | 0 | 0 | [11 empty] | YES |  | EXHAUST SNORKEL |  | ADDED
2872 | OVN | OVEN | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | BIOLOGICS | VWR SCIENTIFIC | 1330FM |  |  | TRUE |  | 21 | 1.75 | 20 | 1.6667 | 31 | 2.5833 |  | B | 120V | 1 | N | [13 empty] | EXHAUST 3" |  | 671600
2873 | HOMG | HOMOGENIZER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | BERTIN CORP/PRECELLYS | P000062PEVO0A.0 |  |  | TRUE |  | 14 | 1.1667 | 20 | 1.6667 | 19 | 1.5833 |  | B | 115V | 1 | N | [15 empty] | 1153383
2874 | VCHM | VACUUM CHAMBER, PLEXI-GLASS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | UNK | PLEXIGLASS CHAMBER |  |  | TRUE |  | 17 | 1.4167 | 10 | 0.83333 | 16 | 1.3333 |  | B | N/A | 0 | 0 | [7 empty] | YES | [7 empty] | ADDED
2875 | CEN | CENTRIFUGE, BENCHTOP, MEDIUM | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | THERMO FISHER SCIENTIFIC | LEGEND MICRO 21R |  |  | TRUE |  | 11 | 0.91667 | 16 | 1.3333 | 13 | 1.0833 | 12H | B | 120V | 1 | N | [15 empty] | ADDED
2876 | ACID | ACID CABINET | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | SCIMATCO | 4 |  |  | TRUE |  | 16 | 1.3333 | 18 | 1.5 | 16 | 1.3333 |  | B | N/A | 0 | 0 | [15 empty] | ADDED
2877 | MIX | MIXER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | FISHER SCIENTIFIC | 15-600-330 |  |  | TRUE |  | 9 | 0.75 | 13 | 1.0833 | 8 | 0.66667 |  | B | 115V | 1 | N | [15 empty] | 1101773
2882 | HPLC | HPLC, TWO STACKS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | AGILENT TECHNOLOGIES | N/A |  |  | TRUE |  | 24 | 2 | 19 | 1.5833 | 38 | 3.1667 |  | B | 120V | 1 | U | [15 empty] | 677667
2882.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2882.2 | PMP | PUMP | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | AGILENT TECHNOLOGIES | G13768 |  |  | TRUE |  | 14 | 1.1667 | 23 | 1.9167 | 13 | 1.0833 | 12H | B | 115V | 1 | N | [15 empty] | 646762
2883 | HPLC | HPLC, TWO STACKS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | AGILENT TECHNOLOGIES | HPLC (PARENT) |  |  | TRUE |  | 24 | 2 | 18 | 1.5 | 28 | 2.3333 |  | T | 120V | 1 | U | [15 empty] | 1101888
2883.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2884 | FLAM | FLAMMABLE STORAGE CABINET | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | JUSTRITE MANUFACTURING COMPANY | 891220 |  |  | TRUE |  | 24 | 2 | 18 | 1.5 | 35.5 | 2.9583 |  | F | N/A | 0 | 0 | [15 empty] | 1166056
2885 | BAL | BALANCE, SCALE | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | SARTORIUS | LE6200 |  |  | TRUE |  | 11 | 0.91667 | 18 | 1.5 | 4 | 0.33333 |  | B | 115V | 1 | N | [15 empty] | 876852
2890 | SEQ | SEQUENCER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | SHIMADZU SCIENTIFIC INSTRUMENTS, INC. | LC-20AD& PPSQ-33A |  |  | TRUE |  | 26 | 2.1667 | 20 | 1.6667 | 21 | 1.75 | CARBOYS ON FLOOR | B | 120V | 1 | N | [15 empty] | 966134
2890.1 | DET | DETECTOR,ULTRAVIOLET | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | SHIMADZU SCIENTIFIC INSTRUMENTS, INC. | SPD-20A |  |  | TRUE |  | 11 | 0.91667 | 17 | 1.4167 | 11 | 0.91667 | TO LEFT OF SEQUENCER | B | 120V | 2 | N | [15 empty] | 966135
2890.2 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2891 | TCYC | THERMAL CYCLER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | BIO RAD | CFX96 |  |  | TRUE |  | 14 | 1.1667 | 18 | 1.5 | 125 | 10.4167 | 14H | B | 120V | 1 | N | [15 empty] | 876824
2891.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2892 | TBOX | TOOL BOX | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | WESTWARD | UNK |  |  | TRUE |  | 30 | 2.5 | 18 | 1.5 | 32 | 2.6667 |  | F | N/A | 0 | 0 | [15 empty] | ADDED
2893 | HPLC | HPLC, TWO STACKS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | AGILENT TECHNOLOGIES | HPLC |  |  | TRUE |  | 24 | 2 | 18 | 1.5 | 28 | 2.3333 |  | T | 120V | 1 | U | [15 empty] | 682305
2893.1 | ATOS | AUTOSAMPLER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | AGILENT TECHNOLOGIES | G1367C |  |  | TRUE |  | 14 | 1.1667 | 23 | 1.9167 | 13 | 1.0833 | 12H | B | 115V | 1 | U | [15 empty] | 671328
2893.2 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2895 | MS | MASS SPECTROMETER (SINGLE PUMP) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | AB SCIEX | TRIPLE TOF 6600 |  |  | TRUE |  | 88 | 7.3333 | 32 | 2.6667 | 64 | 5.3333 | LOCAL UPS 2896 | CABINET/CART | 220V | 2 | L | [11 empty] | YES |  | EXHAUST 1.5" & X3 - 1/8" CONNECTIONSL |  | 1120273
2895.1 | PC | COMPUTER, 2 PC'S / 2 MONITORS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 5 | L | YES | [14 empty] | ADDED
2895.4 | ATOS | AUTOSAMPLER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | EKSIGENT | NLC400XAS |  |  | TRUE |  | 34 | 2.8333 | 24 | 2 | 32 | 2.6667 |  | T | 120V | 2 | L | [11 empty] | YES |  |  | EXHAUSTED THROUGH CARBOY WITH CHARCOL FILTER | 1147282
2896 | UPS | UPS FOR 2895 | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | POWERVAR | SECURITY PLUS P/N 22080-72R |  |  | TRUE |  | 14 | 1.1667 | 39 | 3.25 | 34 | 2.8333 |  | F | 208V | 1 | E | [15 empty] | ADDED
2897 | N2GEN | NITROGEN GENERATOR | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | PEAK SCIENTIFIC | GENIUS |  | TRUE |  |  | 24 | 2 | 34 | 2.8333 | 53 | 4.4167 |  | F | 230V | 1 | L | [15 empty] | ADDED
2898 | MS | MASS SPECTROMETER, (TWO PUMPS) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | AB SCIEX | QTRAP 6500 |  |  | TRUE |  | 40 | 3.3333 | 36 | 3 | 55 | 4.5833 | SITS ON AB SCIEX PUMP CABINET | F | 220V | 1 | L | [11 empty] | YES |  | EXHAUST X1 1.5" AND X1 1.25" |  | 1102658
2898.1 | PMP | PUMP FOR MS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | MS40+ | 8499240 |  |  | TRUE |  | 10 | 0.83333 | 15 | 1.25 | 10 | 0.83333 |  | CABINET/CART | 220V | 3 | L | [15 empty] | ADDED
2898.2 | PMP | PUMP FOR MS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | MS40+ | 8499240 |  |  | TRUE |  | 10 | 0.83333 | 15 | 1.25 | 10 | 0.83333 |  | CABINET/CART | 220V | 2 | L | [15 empty] | ADDED
2898.3 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | L | YES | [14 empty] | ADDED
2898.4 | HPLC | HPLC | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | EKSIGENT | NLC400XAS |  |  | TRUE |  | 22 | 1.8333 | 24 | 2 | 60 | 5 | UNIT SITS ON SPEC CART | F | 120V | 6 | L | [15 empty] | 1147283
2898.5 | ATOS | AUTOSAMPLER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | EKSIGENT | NLC400XAS |  |  | TRUE |  | 34 | 2.8333 | 24 | 2 | 32 | 2.6667 |  | B | INCL | 0 | L | [15 empty] | 1147285
2898.6 | UPS | UPS FOR 2898 | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | APC | SRT |  |  | TRUE |  | 5 | 0.41667 | 20 | 1.6667 | 17 | 1.4167 |  | F | 208/240V | 1 | E | [15 empty] | ADDED
2899 | BIOA | BIOANALYZER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | BIACORE | T100 |  |  | TRUE |  | 24 | 2 | 24 | 2 | 27 | 2.25 |  | B | 120V | 1 | N | [15 empty] | 639917
2899.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2900 | FLAM | FLAMMABLE STORAGE CABINET | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | JUSTRITE MANUFACTURING COMPANY | 25712 |  |  | TRUE |  | 23 | 1.9167 | 18 | 1.5 | 35.5 | 2.9583 |  | KS | N/A | 0 | 0 | [15 empty] | 1166055
2901 | BIOA | BIOANALYZER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | SENSITECH | PIONEER FE SPR |  |  | TRUE |  | 24 | 2 | 26 | 2.1667 | 20 | 1.6667 |  | B | 120V | 1 | N | [15 empty] | 1093834
2901.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2907 | DNAE | DNA ENGINE | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | QIAGEN | QIAXCEL ADVANCED |  |  | TRUE |  | 15 | 1.25 | 23 | 1.9167 | 16 | 1.3333 |  | B | 120V | 2 | N | YES | [14 empty] | 943582
2908 | BIOA | BIOANALYZER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | SENSITECH | PIONEER FE SPR |  |  | TRUE |  | 24 | 2 | 24 | 2 | 20 | 1.6667 |  | B | 120V | 2 | N | [15 empty] | 1107635
2908.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2909 | BIOA | BIOANALYZER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | FORTEBIO | OCTET HTX |  |  | TRUE |  | 32 | 2.6667 | 29 | 2.4167 | 31 | 2.5833 |  | B | 120V | 1 | LOCAL UPS | [15 empty] | 1058535
2909.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2911 | BIOA | BIOANALYZER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | FORTEBIO | OCTET HTX |  |  | TRUE |  | 32 | 2.6667 | 29 | 2.4167 | 31 | 2.5833 |  | B | 120V | 1 | LOCAL UPS | [15 empty] | 1142482
2911.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 2 | N | YES | [14 empty] | ADDED
2915 | BRCT | BIOREACTOR | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | APPLIKON TECH | Z310110011 |  |  | TRUE |  | 16 | 1.3333 | 16 | 1.3333 | 28 | 2.3333 | 16 ON LEFT | B | 120V | 1 | N | [15 empty] | ADDED
2915.1 | CHIL | CHILLER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | JULABO USA INC | F250 |  |  | TRUE |  | 10 | 0.83333 | 16 | 1.3333 | 20 | 1.6667 | UNDER TABLE WITH 2915 | F | 120V | 1 | N | [15 empty] | ADDED
2916 | BRCT | BIOREACTOR | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | APPLIKON TECH | Z310110011 |  |  | TRUE |  | 16 | 1.3333 | 16 | 1.3333 | 28 | 2.3333 | 16 ON LEFT | B | 120V | 1 | N | [15 empty] | ADDED
2918 | PSEAL | PLATE SEALER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | VELOCITY 11 | 01867-201 |  |  | TRUE |  | 9 | 0.75 | 16 | 1.3333 | 23 | 1.9167 |  | B | 115V | 1 | N | [6 empty] | YES | [8 empty] | 876771
2928 | DIGE | TISSUE DIGESTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | PRESSURE BIOSCIENCES, INC | MEP2320-EXT |  |  | TRUE |  | 19 | 1.5833 | 22 | 1.8333 | 15 | 1.25 |  | B | 120V | 1 | N | [6 empty] | YES | [8 empty] | 1107081
2929 | PCAB | CABINET, VACUUM PUMP (NOT IN USE) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | MS NOISE | DBL-OM |  |  | TRUE |  | 20 | 1.6667 | 31 | 2.5833 | 21 | 1.75 |  | F | 120V | 1 | N | [15 empty] | ADDED
2931 | HPLC | HPLC | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | WATERS INSTRUMENTS | NANOACQUITY |  |  | TRUE |  | 17 | 1.4167 | 25 | 2.0833 | 66 | 5.5 | ON SPECIALTY CART | F | 120V | 6 | U | YES | [14 empty] | 818042
2932 | PCAB | CABINET, VACUUM PUMP (NOT IN USE) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | MS NOISE | DBL-OM |  |  | TRUE |  | 20 | 1.6667 | 31 | 2.5833 | 21 | 1.75 |  | F | 120V | 1 | N | [15 empty] | ADDED
2933 | MS | MASS SPECTROMETER (ALL-IN-ONE) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | BRUKER DALTONICS | AUTOFLEX SPEED |  |  | TRUE |  | 30 | 2.5 | 33 | 2.75 | 82 | 6.8333 |  | F | 208V | 1 | U | YES | [5 empty] | YES |  |  |  |  | YES |  | EXHAUST (SIZE?) |  | 1094597
2933.1 | PC | COMPUTER | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 | ON CART 36X20X60" | B | 120V | 2 | N | YES | [14 empty] | ADDED
2934 | MS | MASS SPECTROMETER, SINGLE PUMP (CONNECTED TO 2935) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | THERMO | Q EXACTIVE HF |  |  | TRUE |  | 40 | 3.3333 | 30 | 2.5 | 40 | 3.3333 | CONNECTED TO HPLC 2935 | CABINET/CART | 208V | 1 | U | [11 empty] | YES | UHP-N2 | EXHAUST 1" |  | 1107656
2934.1 | PMP | PUMP | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 8 | 0.66667 | 14 | 1.1667 | 10 | 0.83333 |  | F | 208V | 1 | U | [13 empty] | EXHAUST 2" | VACUUM PUMP IS NOT IN A CABINET YET | ADDED
2934.2 | PC | COMPUTERS, 2-PC'S & 2 MONITORS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 32 | 2.6667 | 24 | 2 | 24 | 2 | TWO PC'S | T | 120V | 5 | U | YES | [14 empty] | ADDED
2934.3 | UPS | UPS, LOCAL | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | POWERVAR | SECURITY PLUS P/N TBD |  |  | TRUE |  | 10 | 0.83333 | 14 | 1.1667 | 10 | 0.83333 |  | F | 208V | 1 | E | [15 empty] | ADDED
2935 | HPLC | HPLC (CONNECTED TO 2934 ) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | THERMO FISHER SCIENTIFIC | UHPLC |  |  | TRUE |  | 20 | 1.6667 | 27 | 2.25 | 33 | 2.75 | CONNECTED TO MS 2934 | CABINET/CART | 120V | 10 | U | YES | [14 empty] | 1114144
2936 | HPLC | HPLC (CONNECTED TO 2937 ) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | WATERS INSTRUMENTS | ACQUITY UPLC M-CLASS |  |  | TRUE |  | 20 | 1.6667 | 28 | 2.3333 | 60 | 5 |  | B | 120V | 9 | U | YES | [14 empty] | 981106
2937 | MS | MASS SPECTROMETER, TWO PUMPS (CONNECTED TO 2936) | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | THERMO | ORBITRAP FUSION LUMOS II |  |  | TRUE |  | 48 | 4 | 32 | 2.6667 | 62 | 5.1667 | CONNECTED TO HPLC 2936 | CABINET/CART | 230V | 1 | L | YES | [9 empty] | YES | YES | UHP-N2 | EXHAUST 2" & 1" |  | 1173270
2937.1 | PMP | PUMP FOR MS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | MS40+ | 8499240 |  |  | TRUE |  | 10 | 0.83333 | 15 | 1.25 | 10 | 0.83333 |  | CABINET/CART | 230V | 1 | L | [15 empty] | ADDED
2937.2 | PMP | PUMP FOR MS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | MS40+ | 8499240 |  |  | TRUE |  | 10 | 0.83333 | 15 | 1.25 | 10 | 0.83333 |  | CABINET/CART | 230V | 1 | L | [15 empty] | ADDED
2937.3 | PC | COMPUTER, W/3 MONITORS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | TBD |  |  |  | TRUE |  | 24 | 2 | 24 | 2 | 24 | 2 |  | B | 120V | 5 | L | YES | [14 empty] | ADDED
2938 | UPS | UPS | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | POWERVAR | ABCDEF8000-22 |  |  | TRUE |  | 12 | 1 | 33 | 2.75 | 29 | 2.4167 |  | F | 208V | 1 | E | [15 empty] | ADDED
2978 | CEN | CENTRIFUGE, BENCHTOP, SMALL | DISCOVERY ATTRIBUTE SCIENCES (DAS) | ACTIVE | DISCOVERY ATTRIBUTE SCIENCES | LABNET | C2400-B |  |  | TRUE |  | 10 | 0.83333 | 12 | 1 | 9 | 0.75 | 10H | B | 120V | 1 | N | [15 empty] | 726953

## LEGEND and NOTES
LEGEND:
| GREEN FONT | EQUIPMENT LOCATED AND IS CURRENTLY ACTIVE
| RED FONT | SURVEY DOES NOT MATCH AMGEN DATA
| YELLOW HIGHLIGHT | KAREN/IPM TO REVIEW DATA
| GREY FONT | AMPERAGE ESTIMATED BASED ON SIMILAR EQUIPMENT
CORRECTION HISTORY:
Lab Ownership Corrections
| BLUE FONT | 4/6/20 Corrections
| BRICK RED FONT | 4/10-13/20 Corrections/Additions
NOTES:
| FYI: | THE CAR FACILITY WAS NOT SURVEYED AS IT IS NOT EXPECTED TO MOVE INTO THE NEW FACILITY
| FYI: | PLEASE DO NOT DELETE AMGEN'S EQUIPMENT NUMBERS AT THE FAR END OF THE DB (COLUMNS AY, AZ, BA)
| FYI: | There are several Incubators with Incucytes inside of them which require data and N2
STILL TO BE DONE:
DUE: | WEEK OF 3/2/2020 | ADD EQUIPMENT TYPE (KAREN TO WORK THROUGH THIS ASAP) | COMPLETE
DUE: | WEEK OF 3/2/2020 | FINISH ADDING LAB GROUP INFORMATION (KAREN TO WORK WITH STEVE ASAP) | COMPLETE
DUE: | WEEK OF 3/2/2020 | PROVIDE HAND SKETCHES FOR MASS SPEC/HPLC LAYOUTS (KAREN) | Not needed layout in new facility may not match existing
DUE: | WEEK OF 4/13/2020 | EQUIPMENT WEIGHTS (COLUMN AA) (KAREN) | In Process
DUE: | WEEK OF 4/13/2020 | EQUIPMENT EQ BRACING (COLUMN AB) (KAREN) | In Process
DUE: | WEEK OF 4/13/2020 | PROVIDE CUT SHEETS/SPEC SHEETS OR SITE PREP DOCS FOR COMPLEX EQUIPMENT | In Process